## R-VALUE CALCULATOR
R-Value Calculator (Version 03.23)
| Client |  |  |  | Your Project is in
(optional)
| Job Number |  |  |  | The Miniimum R-Value for this Climate Zone is
|  | (optional) |  |  |  | m2KW-1
| Address |  |  |  | Has a calculated Interior A/P Ratio of
(optional)
Local Authority
| (click and select from dropdown) | * Required | 1 |  | The R-value for your selected solution is:
m2KW-1
Foundation Type
| (click and select from dropdown) | * Required | 1
The thermal resistance for your selected solution satisfies the minimum schedule method R-value for the reference building.
Wall Type
| (click and select from dropdown) | * Required | 1
Floor Area to INTERIOR Edge (m2)
|  | * Required | 1
Perimeter Length to INTERIOR Edge (m)
|  | * Required | 1
Heating Floor System
| None |  | 0
Part of Perimeter without edge insulation (% of total Perimeter)
Insulation Configuration
| (click and select from dropdown) | * Required | 1
Your selected solution is:
Notes
From time to time a revision of this tool may be released. Always check on www.edgeboard.co.nz the latest version before use.
In some respects, this drawing is to be considered an illustration. Always refer to product specifications, structural and architectural drawings for measurements and construction details.
This tool applies the methodology as described in the Building Code amendment H1 Energy Efficiency - 5th edition H1/AS1 and H1/VM1 for all housing and buildings up to 300 m2.
When foil insulation is used, the compliance with the NZBC is demonstrated via an alternative solution (ISO6946) as this product falls outside the scope of MBIE H1 Acceptable Solutions or Verification Methods.
In some respects, the drawings presented in this document are be considered an illustration and they are not intended to be used for construction.
This document shall be read in conjunction with the construction drawings produced by chartered professionals.
Disclaimer
Anyone who distributes this document must be a suitably qualified professional who agrees with this disclaimer.
The recommended solution provided with this report can be used as part of a Building Consent application, however, Green Building Solutions Limited (GBSL) accepts no liability for Building Code compliance or
thermal performance of the selected solution. GBSL also accepts on liability through misrepresentation of improper use of this tool to obtain or prove Building Code compliance.
I info@edgeboard.co.nz - c/o BDO WELLINGTON LIMITED, Level 1, 50 Customhouse Quay, Wellington, 6143 , New Zealand
0
0
1 | 1
| #N/A |  | #N/A
| #N/A |  | #N/A
| #N/A | #N/A | #N/A
| #N/A |  | #N/A
| #N/A |  | #N/A
| #N/A | #N/A | #N/A
#N/A
| #N/A |  | #N/A
| #N/A |  | #N/A
| #N/A | #N/A | #N/A
#N/A
| 90-140mm Timber Frame with Weatherboard Cladding |  |  | #N/A
| 90-140mm Timber Frame with Brick Veneer |  |  | #N/A
0
BLANK

## HEATING FLOOR SYSTEMS (hidden)
HEATING FLOOR SYSTEMS
None
Embedded within the Foundation

## FOUNDATION TYPES (hidden)
Foundation types
(click and select from dropdown)
305 mm RibRaft® (Polystryrene Pods)
BIAX® 500
RibRaft® XPod™

## WALL TYPES (hidden)
Wall types
(click and select from dropdown)
90-140mm Timber Frame with Weatherboard Cladding
90-140mm Timber Frame with Brick Veneer

## CLIMATE ZONES (hidden)
districts
id | name | heating | no_heating | Climate_Zone
1 | (click and select from dropdown) | 0 | 0 | 0
2 | Ashburton District Council | 3 | 1.6 | Climate Zone 5
3 | Auckland Council | 2.5 | 1.5 | Climate Zone 1
4 | Bay of Plenty Regional Council | 2.5 | 1.5 | Climate Zone 1
5 | Buller District Council | 2.8 | 1.5 | Climate Zone 4
6 | Canterbury Regional Council | 3 | 1.6 | Climate Zone 5
7 | Carterton District Council | 2.8 | 1.5 | Climate Zone 4
8 | Central Hawke's Bay District Council | 2.5 | 1.5 | Climate Zone 2
9 | Central Otago District Council | 3 | 1.7 | Climate Zone 6
10 | Chatham Islands Council | 2.5 | 1.5 | Climate Zone 3
11 | Christchurch City Council | 3 | 1.6 | Climate Zone 5
12 | Clutha District Council | 3 | 1.7 | Climate Zone 6
13 | Dunedin City Council | 3 | 1.6 | Climate Zone 5
14 | Far North District Council | 2.5 | 1.5 | Climate Zone 1
15 | Gisborne District Council | 2.5 | 1.5 | Climate Zone 2
16 | Gore District Council | 3 | 1.7 | Climate Zone 6
17 | Grey District Council | 2.8 | 1.5 | Climate Zone 4
18 | Hamilton City Council | 2.5 | 1.5 | Climate Zone 2
19 | Hastings District Council | 2.5 | 1.5 | Climate Zone 2
20 | Hauraki District Council | 2.5 | 1.5 | Climate Zone 1
21 | Hawke's Bay Regional Council | 2.5 | 1.5 | Climate Zone 2
22 | Horowhenua District Council | 2.5 | 1.5 | Climate Zone 3
23 | Hurunui District Council | 2.5 | 1.5 | Climate Zone 5
24 | Hutt City Council | 2.5 | 1.5 | Climate Zone 3
25 | Invercargill City Council | 3 | 1.7 | Climate Zone 6
26 | Kaikoura District Council | 2.5 | 1.5 | Climate Zone 3
27 | Kaipara District Council | 2.5 | 1.5 | Climate Zone 1
28 | Kapiti Coast District Council | 2.5 | 1.5 | Climate Zone 3
29 | Kawerau District Council | 2.8 | 1.5 | Climate Zone 4
30 | Mackenzie District Council | 3 | 1.7 | Climate Zone 6
31 | Manawatu District Council | 2.8 | 1.5 | Climate Zone 4
32 | Manawatu-Wanganui Regional Council | 2.8 | 1.5 | Climate Zone 4
33 | Marlborough District Council | 2.5 | 1.5 | Climate Zone 3
34 | Masterton District Council | 2.8 | 1.5 | Climate Zone 4
35 | Matamata-Piako District Council | 2.5 | 1.5 | Climate Zone 2
36 | Napier City Council | 2.5 | 1.5 | Climate Zone 2
37 | Nelson City Council | 2.5 | 1.5 | Climate Zone 3
38 | New Plymouth District Council | 2.5 | 1.5 | Climate Zone 2
39 | Northland Regional Council | 2.5 | 1.5 | Climate Zone 1
40 | Opotiki District Council | 2.5 | 1.5 | Climate Zone 1
41 | Otago Regional Council | 3 | 1.7 | Climate Zone 6
42 | Otorohanga District Council | 2.5 | 1.5 | Climate Zone 2
43 | Palmerston North City Council | 2.5 | 1.5 | Climate Zone 3
44 | Porirua City Council | 2.5 | 2.5 | Climate Zone 3
45 | Queenstown-Lakes District Council | 3 | 1.7 | Climate Zone 6
46 | Rangitikei District Council | 2.8 | 1.5 | Climate Zone 4
47 | Rotorua District Council | 2.8 | 1.5 | Climate Zone 4
48 | Ruapehu District Council | 2.8 | 1.5 | Climate Zone 4
49 | Selwyn District Council | 3 | 1.6 | Climate Zone 5
50 | South Taranaki District Council | 2.5 | 1.5 | Climate Zone 2
51 | South Waikato District Council | 2.5 | 1.5 | Climate Zone 2
52 | South Wairarapa District Council | 2.8 | 1.5 | Climate Zone 5
53 | Southland District Council | 3 | 1.7 | Climate Zone 6
54 | Southland Regional Council | 3 | 1.7 | Climate Zone 6
55 | Stratford District Council | 2.5 | 1.5 | Climate Zone 2
56 | Taranaki Regional Council | 2.5 | 1.5 | Climate Zone 2
57 | Tararua District Council | 2.8 | 1.5 | Climate Zone 4
58 | Tasman District Council | 2.5 | 1.5 | Climate Zone 3
59 | Taupo District Council | 2.8 | 1.5 | Climate Zone 4
60 | Tauranga City Council | 2.5 | 1.5 | Climate Zone 1
61 | Thames-Coromandel District Council | 2.5 | 1.5 | Climate Zone 1
62 | Timaru District Council | 3 | 1.6 | Climate Zone 5
63 | Upper Hutt City Council | 2.5 | 1.5 | Climate Zone 3
64 | Waikato District Council | 2.5 | 1.5 | Climate Zone 2
65 | Waikato Regional Council | 2.5 | 1.5 | Climate Zone 2
66 | Waimakariri District Council | 3 | 1.6 | Climate Zone 5
67 | Waimate District Council | 3 | 1.6 | Climate Zone 5
68 | Waipa District Council | 2.5 | 1.5 | Climate Zone 2
69 | Wairoa District Council | 2.5 | 1.5 | Climate Zone 2
70 | Waitaki District Council | 3 | 1.7 | Climate Zone 6
71 | Waitomo District Council | 2.5 | 1.5 | Climate Zone 2
72 | Wellington City Council | 2.5 | 1.5 | Climate Zone 3
73 | Wellington Regional Council | 2.5 | 1.5 | Climate Zone 3
74 | West Coast Regional Council | 2.8 | 1.5 | Climate Zone 4
75 | Western Bay of Plenty District Council | 2.5 | 1.5 | Climate Zone 1
76 | Westland District Council | 2.8 | 1.5 | Climate Zone 4
77 | Whakatane District Council | 2.5 | 1.5 | Climate Zone 1
78 | Whanganui District Council | 2.5 | 1.5 | Climate Zone 2
79 | Whangarei District Council | 2.5 | 1.5 | Climate Zone 1

## SOLUTIONS (hidden)
Solutions
(click and select from dropdown)
No insulation | N
EdgeBoard™ | E
EdgeBoard™ + 25 mm thk. EPS VH Grade under the edge beams only | EUE
EdgeBoard™ + 50 mm thk. EPS H Grade under slab | EUS
EdgeBoard™ + 75 mm thk. XPS under slab | EUSX

## Images (hidden)
WN = Weatherboard - No insulation
WE = Weatherboard - EdgeBoard
WEUE = Weatherboard - EdgeBoard + Under Edgebeam
WEUS = Weatherboard - EdgeBoard + Under Slab
WEUSX = Weatherboard - EdgeBoard + Under Slab XPS
BN = Brick Veneer - No insulation
BE = Brick Veneer - EdgeBoard
BEUE = Brick Veneer - EdgeBoard + Under Edgebeam
BEUS = Brick Veneer - EdgeBoard + Under Slab
BEUSX = Brick Veneer - EdgeBoard + Under Slab XPS

## R-VALUES (hidden)
Wall Type: 90-140 mm Timber Frame + Weatherboard
Foundation Type: Polystyrene Waffle Slab (220 Pod / 305 mm total depth)
R-Values (m2KW-1)
A/P Ratio | 1.3 | 1.6 | 1.8 | 2 | 2.2 | 2.4 | 2.6 | 2.8 | 3 | 4 | All Checked
No insulation | 0.8 | 0.9 | 1 | 1.1 | 1.2 | 1.3 | 1.3 | 1.4 | 1.5 | 1.8
EdgeBoard™ | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.5 | 1.6 | 1.7 | 1.8 | 2.1
EdgeBoard™ + 25 mm thk. EPS VH Grade under the edge beams only | 1.3 | 1.4 | 1.5 | 1.5 | 1.6 | 1.7 | 1.8 | 1.9 | 1.9 | 2.3
EdgeBoard™ + 50 mm thk. EPS H Grade under slab | 1.8 | 2 | 2.2 | 2.3 | 2.4 | 2.5 | 2.6 | 2.7 | 2.8 | 3.2
EdgeBoard™ + 75 mm thk. XPS under slab | 2.2 | 2.5 | 2.6 | 2.8 | 2.9 | 3.1 | 3.2 | 3.3 | 3.5 | 4
Wall Type: 90-140 mm Timber Frame + Brick Veneer
Foundation Type: Polystyrene Waffle Slab (220 Pod / 305 mm total depth)
R-Values (m2KW-1)
A/P Ratio | 1.3 | 1.6 | 1.8 | 2 | 2.2 | 2.4 | 2.6 | 2.8 | 3 | 4 | All Checked
No insulation | 1 | 1.2 | 1.2 | 1.3 | 1.4 | 1.5 | 1.5 | 1.6 | 1.7 | 2
EdgeBoard™ | 1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.5 | 1.6 | 1.7 | 1.8 | 2.1
EdgeBoard™ + 25 mm thk. EPS VH Grade under the edge beams only | 1.1 | 1.2 | 1.3 | 1.4 | 1.5 | 1.6 | 1.6 | 1.7 | 1.8 | 2.1
EdgeBoard™ + 50 mm thk. EPS H Grade under slab | 1.5 | 1.7 | 1.8 | 2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.9
EdgeBoard™ + 75 mm thk. XPS under slab | 1.9 | 2.1 | 2.3 | 2.5 | 2.6 | 2.7 | 2.9 | 3 | 3.1 | 3.7
Wall Type: 90-140 mm Timber Frame
Foundation Type: BIAX500
R-Values (m2KW-1)
A/P Ratio | 1.3 | 1.6 | 1.8 | 2 | 2.2 | 2.4 | 2.6 | 2.8 | 3 | 4
Firth Thermox DPM | 0.7 | 0.8 | 0.9 | 1 | 1.1 | 1.1 | 1.2 | 1.2 | 1.3 | 1.5
EdgeBoard™ + Firth Thermox DPM | 1.2 | 1.4 | 1.5 | 1.6 | 1.7 | 1.7 | 1.8 | 1.9 | 1.9 | 2.2
EdgeBoard™ + Firth Thermox DPM + 20 mm thk. EPS H Grade under slab | 1.5 | 1.7 | 1.9 | 2 | 2.1 | 2.2 | 2.3 | 2.4 | 2.5 | 2.8
Wall Type: 90-140 mm Timber Frame + Weatherboard
Foundation Type: Polystyrene Waffle Slab (300 Pod / 385 mm total depth)
R-Values (m2KW-1)
A/P Ratio | 1.3 | 1.6 | 1.8 | 2 | 2.2 | 2.4 | 2.6 | 2.8 | 3 | 4
No insulation | 0.9 | 1 | 0.1 | 1.2 | 1.2 | 1.3 | 1.4 | 1.4 | 1.5 | 1.8
EdgeBoard™ | 1.1 | 1.3 | 1.4 | 1.5 | 1.6 | 1.6 | 1.7 | 1.8 | 1.9 | 2.2
EdgeBoard™ + 25 mm thk. EPS VH Grade under the edge beams only | 1.3 | 1.4 | 1.5 | 1.6 | 1.7 | 1.8 | 1.8 | 1.9 | 2 | 2.4
EdgeBoard™ R1 + 50 mm thk. XPS under ribs and edge beams only | 1.5 | 1.7 | 1.8 | 1.9 | 2 | 2.1 | 2.2 | 2.2 | 2.3 | 2.7